## Slide 1
TITRE
28th Florence Forum – Florence
4-5 June 2015
NRAs views on the flexibility issue
Domitille BONNEFOI

## Slide 2
2
Florence Forum – 4-5 June 2015
What flexibility needs for the European electric system in the future? Difficulty to get qualitative and quantitative assessment
  Ramp-up and –down of remaining load? Uncertainty regarding RES forecasts?
  Different system may have different flexibility needs
To make sure that all flexible means (DSF, storage, distributed generation,…) will be able to contribute, need to start opening now all segments of the market. No “one size fits all solution”:
  Several tools will have to be used (implicit or explicit valuation, price-based or incentive-based, single unit or aggregated pool):
    Specific challenges will rely in each market segments (wholesale, balancing, network management,…)
    Real time pricing efficient but not enough
  Manage the entrance of new actors (e.g. aggregators) knocking on the market’s door:
    make sure they face neither unjustified barriers nor unfair advantages
    solution might differ depending on the market characteristics.
  Development of the local dimension/challenges of flexibility:
    How to make sure DSOs will be able to consider flexibility means as an option for network management (reinforcement or congestion management)?

## Slide 3
Figure: examples of the different markets segments (France) to value flexibility.
Our Agenda
3
Capacity
Energy
procurement of automatic frequency restoration reserves (aFRR)
alternative to network reinforcement
congestion management purposes
participation to CRM (if such a mechanism is implemented
Explicit participation
to the wholesale market
…the System operator
…the market
Balancing
Wholesale / Retail
Network Management
Specific contracts concluded by the TSO and/or the DSO for emergency situations
procurement of of frequency containment reserves (FCR)
…of restoration reserve (RR)
procurement of manual frequency restoration reserve (mFRR)
valuation for…
Implicit valuation (Suppliers/BRP optimization of sourcing cost and imbalances management
i.e through dedicated supply prices)
TSO
DSO
LT/DA/ID price
Imbalance settlement price
Generation Adequacy

## Slide 4
Thank you for your attention
Thank you for your attention !