## Slide 1
28th Florence Forum
4-5 June 2015
3.3 ENTSO-E System Adequacy Methodology
- Giving investment signals to the market
João da Silva Ricardo
Chairman of System Development Committee

## Slide 2: ENTSO-E Adequacy Reports
ENTSO-E adopts and publishes on an annual basis the:
“Scenario Outlook & Adequacy Forecast” report (SO&AF)
“Winter Outlook and Summer Review” report (WOR)
“Summer Outlook and Winter Review” report (SOR)
as required by
Article 8 of the EC Regulation n. 714/2009
The goal is to assess the main adequacy risks within
seasonal period (6 month – SOR/WOR)
mid-term horizon (5 - 10years – SO&AF)

## Slide 3: Different risks should be addressed in different time horizons
Short term
Mid term
6 months
1 year
5 years
10 years
Operational decisions
Investment
decisions
Policy/political decisions
UNCERTAINTIES
SO&AF
SOR /
WOR
Notes: The longer ahead you have to look the larger the uncertainty gets:
- on the short term you only have to cope with stochastical uncertainties on for example wind and solar infeed and forced outages/maintenance schedules.
on longer terms your installed generation capacity, green certificate prices, grid interconnections can change.
on even longer horizons the energy policies, subsidies, technologies … can change.

## Slide 4: Assessment of ENTSO-E adequacy reports
Recommendations of Electricity Coordination Group - Adequacy
Adequacy reports should capture Security of Supply risks to the pan-European power system
Assessment of the need for flexibility
The treatment of electricity interconnection capacities at times of scarcity
ENTSO-Es views
Fully supports the recommendations of ECG
Renewables will be key drivers of power system dynamics to be captured by probabilistic methods
Use of extensive climate data needed
Modelling of management of transmission in times of scarcity to be improved

## Slide 5: Results from ENTSO-E Stakeholder consultation
Market doesn`t reward flexibility
Future reports will include flexibility assessments
Harmonization of methodology
We will harmonize of different underlying assumptions and input data for Pan-EU scenarios
Data transparency
We will enhance transparency on methodologies and input data
Cross border exchanges
We will enhance the treatment of electricity interconnection capacities at times of scarcity
Probabilistic approach
Current deterministic approach will be complemented with hourly probabilistic assessments

## Slide 6: ENTSO-E Target Methodology for Adequacy
Market-based probabilistic adequacy assessments
Pan-EU scope based on regional knowledge of each TSO
Enhanced transmission management in case of scarcity situations
State of the art climate databases and RES simulations
Hourly resolution
Probabilistic Monte Carlo based method
Extensive range of indicators,
  Loss of Load Expectation (LOLE)
  Energy Not Served (EENS)
  Loss of Load Probability (LOLP)
  Need for Flexibility

## Slide 7
Implementation of the Target Methodology in ENTSO-E reports
Several tools based on regional specificities will test the methodology
Calibration of market tools to ensure robust results
Comparison of Pan-EU results to increase consistency of the results

## Slide 8: Milestone for delivering the Target Methodology
Scenario Outlook & Adequacy Forecast
2016
Calibration benchmarking of market tools & method
Jan-Feb-March
Apr-May-June
June-July-Aug
Oct-Nov-Dec
Methodological improvements
Pilot testing of market tools
Target Methodology to be used in
..and further in 2016
Today
Winter Outlook and Summer Review 2016
Pilot Phase
Collaborative approach with the PLEF initiative

## Slide 9: Added value: Common assessment og generation adequacy
A common regional assessment would give
  Regional adequacy status of each country and associated risks.
  Role of cross-border exchanges between regions / countries and associated possible risks due to limited capacities.
A better top-down pan-European assessment could benefit from solid regional assessments
  Results and experience from regional assessments could enhance quality of the necessary pan-European assessment.
Challenges
  Getting consensus among MS/TSOs on the common regional and pan-E approaches for acceptance and buy-in of results so that these are taken into consideration when designing national policies and during decision making.
  Common work (as we explained in our approach) and political willingness are key.

## Slide 10
THANK YOU

## Slide 11: Reaction slide on Baake and Pentalateral Declarations – Jan Hensmans and Benedikt Guenter (BE & DE Ministries)
ENTSO-E acknowledges the Baake and Pentalateral declarations since regional initiatives will enhance the quality of the necessary pan-European assessments.
ENTSO-E welcomes the collaborative approach with the PLEF initiative to coordinate discussions on methodological improvements.
ENTSO-E methodology, which has been consulted with pan-EU stakeholders, will be applied to the pan-EU perimeter in the legally mandated reports SO&AF and Seasonal Outlooks.
This methodology was successfully applied by the SG2 TSOs in the PLEF study
Internal coordination with the PLEF TSOs is ensured, since these are deeply involved in the ENTSO-E process

## Slide 12: Winter Outlook Report 2014/2015: Example – Backup
Pan-EU analysis (taking into account cross-border exchanges)
Using consistent scenarios for the renewables infeed (pan-European climate database)